STORMWATER POLLUTION PREVENTION PLAN TEMPLATE

NORTH DAKOTA DEPARTMENT OF HEALTH

DIVISION OF WATER QUALITY

SFN 19388 (12/2015)

Stormwater Pollution Prevention Plan

For:

Project Name

Site Location/Address

City

County

Site Telephone Number

Owner(s):

Company or Organization

Contact Name

Mailing Address

City, State, Zip Code

Phone Number

Email

Operator(s):

Company or Organization

Contact Name

Mailing Address

City, State, Zip Code

Phone Number

Email

SWPPP Contact(s):

Company or Organization

Contact Name

Mailing Address

City, State, Zip Code

Phone Number

Email

SWPPP Preparation Date:

NDPDES Permit Coverage Number:

SECTION 1:	CONTACT INTORMATION/CHAIN OF RESPONSIBILITY	- 4 -

1.1	SWPPP Contact	- 4 -

1.2	Chain of Responsibility	- 4 -

SECTION 2:	SITE DESCRIPTION	- 5 -

2.1	Project location	- 5 -

2.2	Overall project description	- 5 -

2.3	Project Size and Area of Disturbance	- 5 -

2.4	Proposed timetable/schedule	- 5 -

2.5	Soil description	- 6 -

2.6	Name of Receiving Water(s)	- 6 -

2.7	Site Map	- 6 -

2.8	Impaired Water Bodies	- 7 -

2.9	Water Bodies with a TMDL	- 7 -

SECTION 3:	OPERATIONAL CONTROLS	- 8 -

3.1	Good Housekeeping.	- 8 -

3.1.1	Litter, debris, chemicals and parts.	- 8 -

3.1.2	Sediment track out.	- 8 -

3.1.3	Dust control.	- 8 -

3.2	Preventative maintenance.	- 9 -

3.3	Spill prevention and response procedures.	- 9 -

3.4	Employee training.	- 12 -

3.5	Concrete grindings and slurry.	- 12 -

3.6	Wastewater from concrete washout, cleanout or washout from: stucco, paint, joint compound, and other building materials.	- 13 -

3.7	Dewatering and basin draining operations.	- 13 -

SECTION 4:	EROSION AND SEDIMENT CONTROLS	- 14 -

4.1	Sediment basins (where applicable).	- 14 -

4.2	Erosion and sediment controls and stabilization practices.	- 15 -

4.3	Stormwater Management.	- 16 -

SECTION 5:	INSPECTIONS	- 17 -

SECTION 6:	SWPPP REVISIONS	- 18 -

SECTION 7:	FINAL STABILIZATION	- 20 -

SECTION 8:	CERTIFICATION	- 21 -

8.1	Certification	- 21 -

APPENDIX A: SITE MAP	- 22 -

APPENDIX B: DEWATERING INSPECTIONS	- 23 -

APPENDIX C: DESIGN AND INSTALLATION SPECIFICATIONS	- 24 -

APPENDIX D: INSPECTION RECORDS	- 25 -

APPENDIX E: MAINTENANCE RECORDS	- 26 -

APPENDIX F: CONSTRUCTION GENERAL PERMIT	- 27 -

APPENDIX G: NOI AND NOTICE OF COVERAGE	- 28 -

APPENDIX H: ADDITIONAL INFORMATION	- 29 -

Foreword: All permittees shall implement a SWPPP for any construction activity requiring this permit until final stabilization is achieved. The SWPPP and revisions are subject to review by the department. The objectives of the SWPPP is to identify potential sources of sediment and other sources of pollution associated with construction activity, and to ensure practices are implemented and maintained to reduce the contribution of pollutants in stormwater discharges from the construction site to waters of the state and storm sewer systems. Stormwater management documents developed under other regulatory programs may be included or incorporated by reference in the SWPPP, or used in whole as a SWPPP if it meets the requirements of this part (e.g., Spill Prevention, Control and Countermeasure requirements). The SWPPP may identify more than one permittee and may specify the responsibilities of each permittee by task, area, and/or timing. Permittees may coordinate and prepare more than one SWPPP to accomplish this. However, in the event there is a requirement under the SWPPP for which responsibility is ambiguous or is not included in the SWPPP, each permittee shall be responsible for implementation of that requirement. Each permittee is also responsible for ensuring that its activities do not render another permittee's controls ineffective. The SWPPP is an enforceable document. The SWPPP shall include the following information: - Site description - A Narrative of operational controls and sediment and erosion controls - Operational controls - Erosion and sediment controls - Stormwater management - Maintenance - Inspections - Records location and retention - Plan review and revisions - Final stabilization - Construction stormwater general permit, NDR10-0000 - Copy of the notice of intent - Coverage letter from the North Dakota Department of Health - Guidelines, specifications or manuals for selected best management practices Disclaimer This SWPPP is intended to be used as an outline/starting point. Permittees are to provide additional information under each section which pertains specifically to the project which is permitted. It is assumed that each responsible party listed in the SWPPP has read and understands all of the requirements in Construction General Permit NDR10-0000. The use of this template does not necessarily ensure compliance with the Construction General Permit.

# CONTACT INTORMATION/CHAIN OF RESPONSIBILITY

## SWPPP Contact

The SWPPP contact must be an individual who is knowledgeable and experienced in the application of erosion and sediment control BMPs who will oversee the implementation of the SWPPP, and the installation, inspection and maintenance of the erosion and sediment control BMPs, before and during construction until a NOT, is filed or the permit is transferred. Additional rows may need to be added if more than two SWPPP contacts will be working on the project.

| SWPPP Contact Information | Title | Phone |
| --- | --- | --- |

## Chain of Responsibility

A chain of responsibility must be developed by the owner with all operators on site to ensure that the SWPPP will be implemented and stay in effect until the construction project is complete, the entire site has undergone final stabilization, and a NOT has been submitted to the department. Additional operators may need to be added if there will be more than one operator on-site. Note: The operator has day to day supervision of construction activities and is jointly responsible with the owner for compliance with the permit conditions as they pertain to the construction activities delegated to the operator.

| OPERATOR |  |
| --- | --- |
| Contact Information | Responsibilities |

# SITE DESCRIPTION

## Project location

Please complete one of the selections.

| Street Address | City | Subdivision (if known) |
| --- | --- | --- |

Or,

| Quarter | Section | Township | Range |
| --- | --- | --- | --- |

Or,

| Latitude | Longitude |
| --- | --- |

Or,

General Location

## Overall project description

Describe the overall project and type of construction activity.

## Project Size and Area of Disturbance

Estimated total area of the project and total area expected to be disturbed by excavation, grading, grubbing or other activities. Include the estimated total area of offsite support activities that will be covered by the construction general permit. This includes concrete or asphalt batch plants, equipment staging yards, material storage areas, excavated material disposal areas, and borrow areas not already covered by another stormwater permit.

Total area of project:

Total area expected to be disturbed:

## Proposed timetable/schedule

Provide a proposed timetable of soil disturbing activities for major portions of the site (for example; excavation, grading, grubbing, building, temporary stabilization, final stabilization). A construction schedule may be used if available. Please note that it may be necessary to add additional rows to the table for your project.

| Phase/Stage | BMP Implementation Schedule | BMP Removal Schedule | Disturbance(s) Schedule | Stabilization Schedule |
| --- | --- | --- | --- | --- |

## Soil description

Describe the soil within the disturbed area(s). Attach additional pages if needed. (Soil survey information may be found at: http://websoilsurvey.sc.egov.usda.gov/App/WebSoilSurvey.aspx )

## Name of Receiving Water(s)

Provide the drainage path runoff takes as it leaves the site. Include the municipal, county or state-operated storm sewer or drainage ditch, as well as the first named waterbody or wetland (if known) to which the site drains.

## Site Map

Provide a site map showing the following items. Please note: Items 1 through 19 all must be shown on the site map as applicable. If an item is not applicable rationale must be provided. Include any maps in Appendix A. - Project boundaries; - Areas of ground disturbance during each phase/stage of the project; - Areas where disturbance will not occur, such as avoidance areas (e.g. wetlands, critical habitat, Threatened and Endangered Species, etc); - Drainage patterns including: flow direction (run-on and runoff) - Dividing lines, discharge points, and storm sewer system inlets which the site drains to or may be affected by the activity; - Pre-existing and final grades; - Location of all temporary and permanent sediment and erosion controls during each particular phase; - Location of any stormwater conveyances such as: retention ponds, detention ponds, ditches, pipes, swales, stormwater diversions, culverts, and ditch blocks; - Location of potential sources of pollution (e.g. portable toilets, trash receptacles, etc.); - Location of soil stockpiles; - Identify steep slopes; - Surface waters, including an aerial extent of wetland acreage; - Location of surface water crossings; - Locations where stormwater is discharged to surface waters; - Location of dewatering discharge points; - Locations of where chemical treatment of stormwater will be performed, including discharge points; - Fueling locations, vehicle and equipment maintenance areas, designated wash water collection site, lubricant and chemical storage, paint storage, material storage, staging areas, and debris collection area; - Location of any impervious surfaces upon completion of construction; and - Where included as part of the project, the site maps for off-site concrete/asphalt batch plants, equipment staging areas, borrow sites or excavated fill material disposal sites. Site maps must show items 1 through 18 of this section.

## Impaired Water Bodies

Identify whether or not the waterbody is listed in the most recent North Dakota Integrated Section 305(b) Water Quality Assessment Report and Section 303(d) List of Water Needing Total Maximum Daily Loads. The Department’s 303(d) list may be found at the following website under Integrated Reports: www.ndhealth.gov/WQ/SW/Z2_TMDL/Integrated_Reports/B_Integrated_Reports.htm.

## Water Bodies with a TMDL

For water bodies which have a TMDL, the SWPPP must describe and conform to the Waste Load Allocations (WLA) of the water body as per Part II(C)(4)(g) of this permit. Information about TMDL allocations may be found at the following website: www.ndhealth.gov/WQ/SW/Z2_TMDL/default.htm.

# OPERATIONAL CONTROLS

The SWPPP must include a narrative description of the selected operational controls and sediment and erosion controls as outlined in Part II(C)(3), Part II(C)(4), and Appendix 1 of this permit. When applicable, a description of the requirements for any additional environmental regulations (federal) and local requirements related to the project, as it relates to waters of the state, must also be included or incorporated by reference (e.g. The Wild and Scenic Rivers Act, The National Historic Preservation Act, The Endangered Species Act, Fish and Wildlife Coordination Act, National Environmental Policy Act, Section 404 of the Clean Water Act, etc.). The narrative shall describe at a minimum: - The installation, removal (if applicable), and maintenance requirements of selected Best Management Practices (BMPs) for each phase/stage of construction activity; - The rationale for the selection of all BMPs (calculations should be included if appropriate); - Whether selected BMPs are temporary or permanent; - Any descriptions of infeasibility or explanations as required in Part II, Part III(A), and Appendix 1 of this permit. Erosion and sediment controls and stabilization practices and maintenance requirements must meet the requirements outlined in Appendix 1 of the General Construction Permit. The plan must describe the operational best management practices (BMPs) used in day-to-day operations on the project site that reduce the contribution of pollutants in stormwater runoff. Descriptions must at a minimum include the four (4) topics outlined above for each control.

## Good Housekeeping

Describe good housekeeping practices used to maintain a clean and orderly site. The SWPPP shall describe how litter, debris, chemicals and parts will be handled to minimize exposure to stormwater. The SWPPP also shall describe what measures will be used to reduce and remove sediment tracked off-site by vehicles or equipment. In addition, the SWPPP shall describe methods which will be used to reduce the generation of dust.

### Litter, debris, chemicals and parts

Describe how these items will be managed properly to minimize the exposure to stormwater so that they will not be carried off-site by wind or water.

### Sediment track out

Describe the sediment control measures which will be used to reduce and remove sediment tracked off-site by vehicles or equipment.

### Dust control

Describe the erosion control methods which will be used to reduce the generation of dust from the construction site.

## Preventative maintenance

Describe the preventative maintenance practices which will be used to ensure the proper operation of all selected erosion and sediment control devices and equipment used or stored on-site. Note: Refer to Appendix 1 of the General Construction Permit for the minimum maintenance requirements.

## Spill prevention and response procedures

Describe spill prevention and response procedures used in areas where spills could occur. Bulk storage of petroleum products and other chemicals must have adequate leak and spill protection to prevent spilled material from entering waters of the state or storm sewer systems or from draining onto adjacent property. Include, where appropriate: - Specific handling procedures. - Storage requirements. - Spill containment procedures. - Spill cleanup procedures. Reportable spills are those that: - Threaten or are in a position to threaten waters of the state, such as surface or ground water. - Cause immediate danger to human health or safety. - Cause harm or threaten to harm wildlife or aquatic life. - Are releases of oil or hazardous substances in excess of reportable quantities under Section 311 of the Clean Water Act (see 40 CFR 110.10 and CFR 117.21) or Section 102 of CERCLA (see 40 CFR 302.4). Note: CFR stands for Code of Federal Regulations, and CERCLA stands for Comprehensive Environmental Response, Compensation, and Liability Act. Spill Reporting Report any spill that may seriously endanger health or the environment as soon as possible, but no later than 24 hours from the time you became aware of the spill. Some releases may require immediate response by trained emergency personnel. This may be coordinated through the Department of Health, Department of Emergency Services and any other state or local emergency response agencies that may be needed. If there is any question as to proper response, call the Department of Health at 701.328.5210 or the North Dakota hazardous materials emergency assistance and spill reporting number (800.472.2121) and provide all relevant information about the incident. North Dakota Department of Health: Division of Water Quality 701.328.5210 Division of Waste Management 701.328.5166 Division of Air Quality 701.328.5188 Division of Municipal Facilities 701.328.5211 North Dakota hazardous materials emergency assistance and spill reporting: 800.472.2121 (24-hour hotline) Releases may be reported by filling out the online Environmental Incident Report Form at http://www.ndhealth.gov/EHS/Spills/ .

| Material/Chemical | Quantity | Handling Procedures | Storage Requirements | Spill Containment Procedures | Spill Clean-up Procedures |
| --- | --- | --- | --- | --- | --- |

Attach additional pages if needed

## Employee training

Describe how employees and responsible parties shall be trained on the implementation of the SWPPP. Employees and responsible parties include individuals who are responsible for design, installation, maintenance and repair of stormwater controls and conducting inspections. The following items must be addressed: - On-site personnel must understand the requirements of this permit as it pertains to their role in implementing the SWPPP. On-site personnel must know: - The purpose of the SWPPP, requirements of the SWPPP, and how the SWPPP will be implemented; - The location of all BMPs identified in the SWPPP; and - Correct installation, function, maintenance and removal (if applicable) of BMPs identified in the SWPPP. - Personnel responsible for performing site inspections must understand when inspections must be conducted (Part III(A)), what must be inspected (Part II(C)(7), how to record findings, when to initiate corrective actions, and properly document corrective actions. - Maintenance personnel must understand when maintenance must be performed on BMPs in order to maintain properly functioning BMPs and what needs to be recorded for corrective actions/maintenance records in accordance with Part III(A)(5) of this permit. Note: Employee training must be provided at least annually, as new employees are hired or as necessary to ensure compliance with the plan and the general permit, NDR10-0000.

## Concrete grindings and slurry

Describe how concrete grindings and slurry will be managed on-site.

## Wastewater from concrete washout, cleanout or washout from: stucco, paint, joint compound, and other building materials

Describe what practices will be used to prevent wastewater from concrete washout, cleanout or washout from: stucco, paint, joint compound, and other building materials. Wastewater shall not be discharged to waters of the state, storm sewer systems or curb and gutter systems. Note: Wash water must be collected in leak-proof containers or leak-proof pits. Containers or pits must be designed and maintained so that overflows cannot occur due to inadequate sizing, precipitation events, or snowmelt.

## Dewatering and basin draining operations

Describe how dewatering operations will be operated to minimize the release of sediment and erosion caused by the discharge. Provide any dewatering inspection in Appendix B. These operations must not adversely affect receiving waters or downstream landowners. The operation must be inspected daily and an inspection record must be maintained. The following conditions apply to dewatering activities covered by the construction general permit: Dewatering is limited to un-contaminated stormwater, surface water, and groundwater that may collect on-site and those sources identified in Part II(A), if they are not a significant source of pollution. A separate permit must be obtained to discharge water from other sources such as hydrostatic testing of pipes, tanks, or other similar vessels; disinfection of potable water lines; pump testing of water wells; and the treatment of gasoline or diesel contaminated groundwater or surface water. The operation must not lead to sediment deposits within storm sewers, ditches and surface waters. The operation must not cause or potentially cause a visible plume in a surface water. When dewatering, you must utilize structures or BMPs which allow for draw down to occur from the surface of the water, unless infeasible. If infeasible, documentation must be provided and you must describe what BMP(s) will be used in its place. Note: You are allowed to discharge the non-stormwater discharges sources only if you describe what measures will be used to minimize their impact to water quality.

# EROSION AND SEDIMENT CONTROLS

Erosion and Sediment Controls. Erosion and sediment controls and stabilization requirements must be implemented for each major phase of site activity (e.g., clearing, grading, building, and landscaping phases). A description of the erosion and sediment controls and site stabilization methods must be provided in accordance with Part II(C)(2) of this permit. Erosion and sediment controls, and site stabilization must conform to the requirements provided in Appendix 1. The description and implementation of controls shall address the following minimum components: The selection of erosion and sediment controls, and site stabilization shall consider the following: - The expected amount, frequency, intensity, and duration of precipitation events; - The nature of stormwater run-on and runoff from the site as well as changes during, and as a result of, construction activity. This includes changes to impervious surfaces, slopes, seasonal changes, and drainage features on-site; - Channelized flow, must be handled in order to minimize erosion at outlets and to minimize impacts to downstream receiving waters; - Soil types (wind and water erodibility, and settling time); and - Seasonal conditions.

## Sediment basins (where applicable)

Provide a description which meets the five (5) criteria above for the sediment basins, along with calculations if applicable to the design of the sediment basin. Attach any design specifications in Appendix C. If sediment basins are being utilized on site they must be designed for a calculated volume of runoff from a 2-year, 24-hour storm per acre drained to the basin and provides not less than 1,800 cubic feet of sediment storage below the invert of the outlet pipe from each acre drained to the basin; or Basins shall be sized to provide 3,600 cubic feet of sediment storage below the invert of the outlet pipe per acre drained to the basin if calculations are not performed. Outlets must be designed to avoid short-circuiting and the discharge of floating debris. Basins must be designed with the ability to allow complete basin drawdown for maintenance activities. Basins must release the storage volume in at least 24 hours. Outlet structures must be designed to withdraw water from the surface, unless not practicable. If not practicable, rationale must be provided in the SWPPP. The basin must have a stabilized emergency overflow to prevent failure of pond integrity. Energy dissipation must be provided for the basin outlet.

## Erosion and sediment controls and stabilization practices

Provide a description of all erosion, sediment, and stabilization practices which meets the five (5) criteria above and include all maintenance considerations for the selected erosion and sediment controls and stabilization practices. Attach any product specifications, installation diagrams, and calculations (when appropriate) in Appendix C. Erosion and sediment controls and stabilization practices and maintenance requirements must meet the requirements outlined in Appendix 1 of the General Construction Permit. All erosion and sediment control measures and other protective measures identified in the SWPPP must be maintained in effective operating condition. The SWPPP must indicate, as appropriate, the maintenance or clean out interval for sediment controls. If site inspections, required in Part III of this permit, identify BMPs that are not operating effectively, maintenance shall be arranged and accomplished in accordance to Appendix 1 or as soon as practicable. All control measures must be properly selected, installed and maintained in accordance with the manufacturer’s specifications and good engineering practices. If periodic inspections or other information indicates a control has been used inappropriately or incorrectly, the permittee must replace or modify the control for site situations. Corrective actions must be made prior to the next anticipated rainfall event of within 24 hours of discovery (whichever comes first) or as soon as field conditions allow. Documentation must be provided in the maintenance records if field conditions do not allow access along with a plan of action for performing maintenance activities. Note: The permittee may deviate from the manufacturer’s specifications and erosion and sediment control requirements in Appendix 1 if they provide justification for the deviation and document the rationale for the deviation in the SWPPP. Any deviation must provide equivalent erosion and sediment control. If sediment escapes from the site, off-site accumulations of sediment must be removed in a manner and at a frequency sufficient to minimize off-site impacts. The plan must be modified to prevent further sediment deposition off-site. Stormwater controls are expected to withstand and function properly up to a two-year, 24-hour precipitation event. Visible erosion and/or off-site sediment deposits should be minimal. A two-year, 24 hour rain event in North Dakota ranges from 1.9 inches in the west to 2.3 inches in the east. If the project discharges stormwater which flows to a waterbody that has a TMDL allocation for sediment and/or parameters associated with sediment transport, the SWPPP must be consistent with the assumptions, allocations, and requirements of the TMDL. If the TMDL requires certain practices be used to meet the waste load allocation (WLA), then the practices must be incorporated into this plan.

## Stormwater Management

Identify any permanent practices incorporated into the project to control pollutants in stormwater discharges occurring after construction operations have been completed. Include any design specifications in Appendix C. Provide a description of any maintenance requirements for the permanent controls. This includes the following: a. Stormwater ponds; flow reduction practices that use open vegetated swales and natural depressions; infilitration of on-site runoff; and sequential systems that combine several practices. b. Velocity / energy dissipation devices placed at discharge locations (e.g., riprap) and appropriate erosion protection for outfall channels and ditches (e.g., hard armor or soft armor practices).

# INSPECTIONS

Inspections: Provide a description of inspection procedures, personnel responsible for conducting site inspections, inspection schedule, and the location of your rain gauge or identify which National Weather Service station is being utilized. Identify any erosion and sediment control measures which require more frequent inspections due to re-occurring maintenance issues. Provide inspection records in Appendix D and maintenance records in Appendix E. Document any portions of the site which qualify for reduced inspections (Part III(A)(6) of the permit). Inspectors must be knowledgeable in their role of the SWPPP, as outlined in Part II(C)(3)(e) of this permit. At a minimum, inspections must be performed and recorded once every 14 calendar days and within 24 hours of a rain event greater than 0.25-inches. You may use a rain gauge or the nearest National Weather Service precipitation gauge station which is representative of the site, or a rain gauge may be used on site. All erosion and sediment control measures identified in the plan must be inspected to ensure they are operating correctly and in serviceable condition. Surface waters, drainage ditches and conveyance systems must be inspected for sediment deposits. Further inspection requirements can be found in Part II(C)(7) and Part III of the permit.

# SWPPP REVISIONS

The SWPPP must be amended whenever there is a change in design, construction, operation, maintenance, or BMPs. The SWPPP shall be amended if the plan is found to be ineffective in controlling pollutants present in stormwater. The SWPPP shall be amended as soon as practicable. The plan must be made available, upon request, to the North Dakota Department of Health, United States Environmental Protection Agency, or operator of the local municipal separate storm sewer system.

SWPPP Revision Documentation

| Item Revised | Revision Made | Date | Initials |
| --- | --- | --- | --- |

# FINAL STABILIZATION

Describe the procedures for final stabilization. If you complete construction activities on part of your site, document the final stabilization efforts for that portion of the site and indicate those portions on your site map. For portions of the site which have met final stabilization, inspections may be suspended (refer to Part III(A)(7) of the permit). Final stabilization means that: 1. All soil disturbing activities at the site have been completed and all soils must be stabilized by a uniform perennial vegetative cover with a density of 70 percent of the pre-existing cover over the entire pervious surface area, or other equivalent means necessary to prevent soil failure under erosive conditions and; a. All drainage ditches, constructed to drain water from the site after construction is complete, must be stabilized to preclude erosion; b. All temporary erosion prevention and sediment control BMPs (such as silt fence) must be removed as part of the site final stabilization; and c. The permittee(s) must remove all sediment from conveyances and temporary sedimentation basins that will be used as permanent water quality management basins. Sediment must be stabilized to prevent it from being washed into basins, conveyances or drainage ways discharging off-site or to surface waters. The cleanout of permanent basins must be sufficient to return the basin to design capacity. 2. For areas of the state where the average annual rainfall is less than 20 inches, all soil disturbing activities at the site have been completed and erosion control measures (e.g., degradable rolled erosion control product) and stabilization methods are selected, designed, and installed along with an appropriate seed base to provide erosion control for at least three years and achieve 70 percent of the pre-existing vegetative cover within three (3) years without active maintenance. Sites must meet the criteria outlined in items 1(a), (b), and (c) above. 3. Disturbed areas on land used for agricultural purposes that are restored to their pre-construction agricultural use are not subject to these final stabilization criteria. If the construction activity removed standing crop, the area must be restored in accordance with the landowner. Areas disturbed that were not previously used for agricultural activities, such as buffer strips immediately adjacent to waters of the state, and areas which are not being returned to their pre-disturbance use must meet the final stabilization criteria in (1) or (2) above. 4. For residential construction only, final stabilization may be achieved when soil is stabilized (see Appendix 1(A)(3)) and down gradient perimeter control for individual lots has been implemented and the residence has been transferred to the homeowner. Additionally, the permittee must distribute a “homeowner fact sheet” to the homeowner to inform the homeowner of the need for, and benefits of, final stabilization. The permittee also must demonstrate that the homeowner received the fact sheet.

# CERTIFICATION

The stormwater pollution prevention plan (SWPPP) must be signed by a responsible corporate officer, a general partner, or a principal executive officer or ranking elected official. The SWPPP may be signed by a duly authorized representative of the individual described above if: The authorization is made in writing by the person described above and submitted to the North Dakota Department of Health; and The authorization specifies either an individual or a position having responsibility for the overall operation of the regulated facility, such as the plant manager, the superintendent, a position of equivalent responsibility, or an individual or position having overall responsibility for environmental matters. If the authorization is no longer accurate for any reason, a new authorization satisfying the above requirements must be submitted to the Department of Health prior to or together with any reports, information or applications signed by the authorized representative.

## Certification

I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted. Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.

Name				Title

Signature			Date

- APPENDIX A: SITE MAP

- APPENDIX B: DEWATERING INSPECTIONS

- APPENDIX C: DESIGN AND INSTALLATION SPECIFICATIONS

- APPENDIX D: INSPECTION RECORDS

- APPENDIX E: MAINTENANCE RECORDS

- APPENDIX F: CONSTRUCTION GENERAL PERMIT

# APPENDIX G: NOI AND NOTICE OF COVERAGE

# APPENDIX H: ADDITIONAL INFORMATION